## Elevation Summary
Page # | E01 | UNLABELED | W-1 | W-2 | Total Windows | Total Doors
A5.02 | 1 | 13 | 6 | 1 | 21 | 30
A5.02 | 1 | 10 | 0 | 0 | 11 | 26
A5.13 | 1 | 12 | 0 | 0 | 13 | 25
A5.01 | 1 | 20 | 0 | 0 | 21 | 26
A5.11 | 1 | 20 | 0 | 0 | 21 | 24
A9.25 | 1 | 20 | 0 | 0 | 21 | 25
TOTAL | 6 | 95 | 6 | 1 | 108 | 156

## Flags Report
Page | Tile | Flag Type | Details
--- WINDOW FLAGS ---
A5.02 | 3 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 3 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window WW-1c is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window H is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window G is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window M is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window C is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window F is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window N is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window E01 is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window D01 is closer than 24 inches to a door
A5.02 | 5 | WINDOW | Window SB is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window SH is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window WW-1c is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window H is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window G is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window M is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window C is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window F is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window N is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window E01 is less than 18 inches from the floor
A5.02 | 5 | WINDOW | Window D01 is less than 18 inches from the floor
A5.02 | 8 | WINDOW | Window E01 is closer than 24 inches to a door.
A5.02 | 8 | WINDOW | Window SB is closer than 24 inches to a door.
A5.02 | 8 | WINDOW | Window SH is closer than 24 inches to a door.
A5.02 | 8 | WINDOW | Window WW-1c is closer than 24 inches to a door.
A5.02 | 8 | WINDOW | Window C is less than 18 inches from the floor.
A5.02 | 8 | WINDOW | Window C is less than 18 inches from the floor.
A5.02 | 10 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 10 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window E01 is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A5.02 | 3 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 3 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 9 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 9 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 11 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 11 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window E01 is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window SB is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window SH is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window WW-1c is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window H is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window G is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window M is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window C is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window F is closer than 24 inches to a door
A5.02 | 16 | WINDOW | Window N is closer than 24 inches to a door
A5.02 | 16 | WINDOW | UNLABELED window is closer than 24 inches to a door
A5.02 | 16 | WINDOW | UNLABELED window is less than 18 inches from the floor
A5.13 | 1 | WINDOW | Window SB is closer than 24 inches to a door
A5.13 | 1 | WINDOW | Window SH is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window E01 is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window SB is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window SH is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window WW-6A is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window WW-6B is closer than 24 inches to a door
A5.13 | 5 | WINDOW | Window WW-6A is less than 18 inches from the floor
A5.13 | 5 | WINDOW | Window WW-6B is less than 18 inches from the floor
A5.13 | 6 | WINDOW | Window SB is closer than 24 inches to a door
A5.13 | 6 | WINDOW | Window SH is closer than 24 inches to a door
A5.13 | 6 | WINDOW | Window W-1b is less than 18 inches from the floor
A5.13 | 11 | WINDOW | Window WW-14a is closer than 24 inches to a door
A5.13 | 11 | WINDOW | Window WW-1c is less than 18 inches from the floor
A5.13 | 12 | WINDOW | Window SB is closer than 24 inches to a door
A5.13 | 12 | WINDOW | Window SH is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window E01 is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window SB is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window SH is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window WW-1c is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window H is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window G is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window M is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window C is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window F is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window N is closer than 24 inches to a door
A5.13 | 16 | WINDOW | Window E01 is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window SB is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window SH is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window WW-1c is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window H is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window G is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window M is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window C is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window F is less than 18 inches from the floor
A5.13 | 16 | WINDOW | Window N is less than 18 inches from the floor
A5.01 | 1 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 2 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 2 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 2 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 3 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 3 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 3 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 6 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 6 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 6 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 6 | WINDOW | Window WW-8 is less than 18 inches from the floor
A5.01 | 7 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window WW-9a is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window WW-10a is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window WW-9b is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window WW-10b is closer than 24 inches to a door
A5.01 | 7 | WINDOW | Window WW-1c is less than 18 inches from the floor
A5.01 | 8 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 8 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 8 | WINDOW | Window WW-11a is less than 18 inches from the floor
A5.01 | 9 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 9 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 9 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 10 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 10 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 11 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 11 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 11 | WINDOW | Window WW-12a is closer than 24 inches to a door
A5.01 | 11 | WINDOW | Window WW-12b is closer than 24 inches to a door
A5.01 | 12 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 12 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 12 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window SB is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window SH is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window WW-1c is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window H is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window G is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window M is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window C is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window F is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window N is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window E01 is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window D01 is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window UNLABELED is closer than 24 inches to a door
A5.01 | 16 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A5.11 | 5 | WINDOW | Window SB is closer than 24 inches to a door
A5.11 | 5 | WINDOW | Window SH is closer than 24 inches to a door
A5.11 | 7 | WINDOW | Window E01 is closer than 24 inches to a door
A5.11 | 9 | WINDOW | Window E01 is closer than 24 inches to a door
A5.11 | 9 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A5.11 | 10 | WINDOW | Window E01 is closer than 24 inches to a door
A5.11 | 10 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A5.11 | 11 | WINDOW | Window E01 is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window SB is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window SH is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window WW-1c is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window H is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window G is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window M is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window C is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window F is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window N is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window UNLABELED is closer than 24 inches to a door.
A5.11 | 11 | WINDOW | Window UNLABELED is less than 18 inches from the floor.
A9.25 | 1 | WINDOW | Window E01 is closer than 24 inches to a door
A9.25 | 1 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A9.25 | 7 | WINDOW | Window SB is closer than 24 inches to a door
A9.25 | 7 | WINDOW | Window SH is closer than 24 inches to a door
A9.25 | 9 | WINDOW | Window E01 is closer than 24 inches to a door
A9.25 | 9 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A9.25 | 10 | WINDOW | Window E01 is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window SB is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window SH is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window WW-1c is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window C is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window F is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window N is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window UNLABELED is closer than 24 inches to a door
A9.25 | 10 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A9.25 | 11 | WINDOW | Window E01 is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window SB is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window SH is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window WW-1c is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window H is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window G is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window M is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window C is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window F is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window N is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window UNLABELED is closer than 24 inches to a door
A9.25 | 11 | WINDOW | Window UNLABELED is less than 18 inches from the floor
A9.25 | 15 | WINDOW | Window E01 is closer than 24 inches to a door
A9.25 | 15 | WINDOW | Window UNLABELED is less than 18 inches from the floor