## Elevation Summary
Page # | E01 | UNLABELED | Total Windows | Total Doors
A7.46 | 1 | 13 | 14 | 2
A5.02 | 0 | 0 | 0 | 0
A5.03 | 1 | 15 | 16 | 2
A5.04 | 0 | 0 | 0 | 0
A5.05 | 1 | 20 | 21 | 2
TOTAL | 3 | 48 | 51 | 6

## Flags Report
Page | Tile | Flag Type | Details
--- WINDOW FLAGS ---
A7.46 | 1 | WINDOW | Window E01 is closer than 24 inches to a door.
A7.46 | 1 | WINDOW | Window SB is closer than 24 inches to a door.
A7.46 | 1 | WINDOW | Window SH is closer than 24 inches to a door.
A7.46 | 1 | WINDOW | Window WW-1c is closer than 24 inches to a door.
A7.46 | 1 | WINDOW | Window H is less than 18 inches from the floor.
A7.46 | 1 | WINDOW | Window G is less than 18 inches from the floor.
A7.46 | 1 | WINDOW | Window M is less than 18 inches from the floor.
A7.46 | 1 | WINDOW | Window C is less than 18 inches from the floor.
A7.46 | 1 | WINDOW | Window F is less than 18 inches from the floor.
A7.46 | 1 | WINDOW | Window N is less than 18 inches from the floor.
A5.03 | 1 | WINDOW | Window E01 is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window SB is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window SH is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window WW-1c is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window C is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window G is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window H is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window M is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window F is closer than 24 inches to a door
A5.03 | 1 | WINDOW | Window N is closer than 24 inches to a door
A5.05 | 1 | WINDOW | Window E01 is closer than 24 inches to a door
A5.05 | 1 | WINDOW | Unlabeled window is less than 18 inches from the floor